## HA integration codes
4133 | status_9_errorCode | uint16 | 0
4167 | status_9_controlFlags | uint16 | 50432
41a2 | status_9_lastError_0 | uint16 | 0
41a3 | status_9_extErrorCode | uint16 | 0
41a5 | status_9_lastError_1 | uint16 | 0
41ab | status_9_lastError_3 | uint16 | 0
41ac | status_9_lastError_2 | uint16 | 0
41be | status_9_lastError_4 | uint16 | 0
41d7 | status_9_extPrevErrorCode | uint16 | 0
41e2 | status_9_extError_status_2 | uint16 | 53080
41e5 | status_9_extError_status_3 | uint16 | 10617
41eb | status_9_extError_status_1 | uint16 | 23623
41ec | status_9_extError_status_0 | uint16 | 56005
41f0 | status_9_extError_status_4 | uint16 | 60857
41f7 | status_9_extError_status_5 | uint16 | 8
4625 | status_8_compressorLimit_max | int16 | unit.hertz | 0.01 | 0
4638 | status_8_temperatureHysteresis_off | int16 | unit.degrees_celcius | 0.01 | 0
4641 | status_8_temperatureSetpoint_Cooling | int16 | unit.degrees_celcius | 0.01 | 0
4645 | status_8_fanLimit_max | int16 | unit.rounds_per_minute | 0
4655 | status_8_temperatureSetpoint_Heating | int16 | unit.degrees_celcius | 0.01 | 0
4656 | status_8_temperatureHysteresis_on | int16 | unit.degrees_celcius | 0.01 | 0
468f | status_8_fanLimit_min | int16 | unit.rounds_per_minute | 0
46c0 | status_8_temperatureSetpoint_DHW | int16 | unit.degrees_celcius | 0.01 | 0
46ce | status_8_manualCompressorSpeed | int16 | unit.hertz | 0.01 | 0
46ef | status_8_compressorLimit_min | int16 | unit.hertz | 0.01 | 0
46f6 | status_8_powerOn | uint8 | 1
473d | CPUinfo_checksum | bytes | P
47b0 | CPUinfo_date_code | bytes | P240516*
47b1 | CPUinfo_crc | bytes | o | t
47da | CPUinfo_software_name | bytes | hbcumk1 | *
47e0 | CPUinfo_software_version | bytes | V0.60-
5008 | status_S_energyThermalCoolingPrevDay | int16 | unit.kWh | 0.1 | 0
5031 | status_S_copDhwPrevDay | uint8 | 0.1 | 0
503e | status_S_currentHpPowerThermal | int16 | unit.kilowatt | 0.001 | 0
503f | status_S_energyElectricCoolingPrevDay | int16 | unit.kWh | 0.1 | 0
5041 | status_S_currentCop | uint8 | 0.1 | 0
5051 | status_S_copCoolingPrevDay | uint8 | 0.1 | 0
506a | status_S_energyThermalBoilerPrevDay | int16 | unit.kWh | 0.1 | 0
5077 | status_S_currentPowerThermal | int16 | unit.kilowatt | 0.001 | 0
5088 | status_S_currentBoilerPowerThermal | int16 | unit.kilowatt | 0.001 | 0
5092 | status_S_currentDhwPowerThermal | int16 | unit.kilowatt | 0.001 | 0
5098 | status_S_energyThermalDhwPrevDay | int16 | unit.kWh | 0.1 | 0
5099 | status_S_energyElectricHeatingPrevDay | int16 | unit.kWh | 0.1 | 1
50ae | status_S_energyThermalHeatingPrevDay | int16 | unit.kWh | 0.1 | 0
50f2 | status_S_currentPowerElectric | int16 | unit.kilowatt | 0.001 | 7
50f7 | status_S_copHeatingPrevDay | uint8 | 0.1 | 0
50ff | status_S_energyElectricDhwPrevDay | int16 | unit.kWh | 0.1 | 0
6206 | status_4_tTempAux2 | int16 | unit.degrees_celcius | 0.01 | 32767
620f | status_4_tTempAux1 | int16 | unit.degrees_celcius | 0.01 | 32767
621d | status_4_tSystemSupply | int16 | unit.degrees_celcius | 0.01 | 2301
622b | status_4_sPumpDhw | int16 | unit.percent | 0.01 | 0
623c | status_4_tBoilerReturn | int16 | unit.degrees_celcius | 0.01 | 2315
6256 | status_4_tDhwCold | int16 | unit.degrees_celcius | 0.01 | 32767
625b | status_4_tBoilerSupply | int16 | unit.degrees_celcius | 0.01 | 2315
6269 | status_4_tDhwHot | int16 | unit.degrees_celcius | 0.01 | 32767
6280 | status_4_tHpReturn | int16 | unit.degrees_celcius | 0.01 | 2334
628d | status_4_tDhwPreheat | int16 | unit.degrees_celcius | 0.01 | 32767
6290 | status_4_fDhw | int16 | unit.liters_per_minute | 0.01 | 0
629c | status_4_fSystem | int16 | unit.liters_per_minute | 0.01 | 0
62cb | status_4_sPumpCh | int16 | unit.percent | 0.01 | 0
62d1 | status_4_tOutdoor | int16 | unit.degrees_celcius | 0.01 | 1750
62e7 | status_4_tHpSupply | int16 | unit.degrees_celcius | 0.01 | 2315
62ed | status_4_tTempSet | int16 | unit.degrees_celcius | 0.01 | 2000
631a | statistics_6_operationBoilerHours | uint24 | unit.hours | 0
6339 | statistics_6_thermalEnergyDHW | uint24 | unit.kWh | 1 | 0
6358 | statistics_6_electricEnergyDHW | uint24 | unit.kWh | 1 | 0
63a7 | statistics_6_electricEnergyCooling | uint24 | unit.kWh | 1 | 0
63ae | statistics_6_startBoilerCounter | uint24 | 0
63b3 | statistics_6_electricEnergyHeating | uint24 | unit.kWh | 1 | 1
63df | statistics_6_thermalEnergyBoiler | uint24 | unit.kWh | 1 | 0
63e4 | statistics_6_thermalEnergyCooling | uint24 | unit.kWh | 1 | 0
63f0 | statistics_6_thermalEnergyHeating | uint24 | unit.kWh | 1 | 11
6505 | status_5_suctionTemperature | int16 | unit.degrees_celcius | 0.01 | 1800
651d | status_5_faultCode | uint16 | 0
655c | status_5_inletWaterTemperature | int16 | unit.degrees_celcius | 0.01 | 2334
656b | status_5_flags | uint16 | 3
6573 | status_5_ambientTemperature | int16 | unit.degrees_celcius | 0.01 | 1750
6578 | status_5_workingMode | uint8 | 1
6579 | status_5_suctionPressure | int16 | unit.bars | 0.01 | 1395
657a | status_5_phaseCurrent | int16 | unit.ampere | 0.001 | 0
657e | status_5_operationMode | uint8 | 254
658a | status_5_frequencySetpoint | int16 | unit.hertz | 0.01 | 0
65a7 | status_5_actualFrequency | int16 | unit.hertz | 0.01 | 0
65b0 | status_5_exhaustPressure | int16 | unit.bars | 0.01 | 1395
65b9 | status_5_digitalIn | uint16 | 0
65c1 | status_5_coilTemperature | int16 | unit.degrees_celcius | 0.01 | 1800
65d0 | status_5_digitalOut | uint16 | 0
65d2 | status_5_outletWaterTemperature | int16 | unit.degrees_celcius | 0.01 | 2315
65d9 | status_5_exhaustTemperature | int16 | unit.degrees_celcius | 0.01 | 1800
6a01 | statistics_5_otStatsBoilerBurnerCHHours | uint16 | unit.hours | 4921
6a28 | statistics_5_startCoolingCounter | uint24 | 0
6a53 | statistics_5_startDefrostCounter | uint24 | 0
6a6c | statistics_5_operationDhwHours | uint24 | unit.hours | 0
6a78 | statistics_5_operationCoolingHours | uint24 | unit.hours | 0
6a8d | statistics_5_startDhwCounter | uint24 | 0
6a8e | statistics_5_startHeatingCounter | uint24 | 6
6a9b | statistics_5_otStatsBoilerBurnerDHWHours | uint16 | unit.hours | 143
6abd | statistics_5_otStatsBoilerBurnerStarts | uint16 | 34102
6ac5 | statistics_5_operationHeatingHours | uint24 | unit.hours | 2
6b07 | status_7_fanLimit_min | int16 | unit.rounds_per_minute | 0
6b3b | status_7_manualCompressorSpeed | int16 | unit.hertz | 0.01 | 0
6b45 | status_7_compressorLimit_max | int16 | unit.hertz | 0.01 | 0
6b5f | status_7_powerOn | uint8 | 1
6b75 | status_7_temperatureHysteresis_off | int16 | unit.degrees_celcius | 0.01 | 0
6b8f | status_7_compressorLimit_min | int16 | unit.hertz | 0.01 | 0
6b95 | status_7_temperatureSetpoint_DHW | int16 | unit.degrees_celcius | 0.01 | 0
6bcd | status_7_fanLimit_max | int16 | unit.rounds_per_minute | 0
6be7 | status_7_temperatureSetpoint_Heating | int16 | unit.degrees_celcius | 0.01 | 0
6bf3 | status_7_temperatureSetpoint_Cooling | int16 | unit.degrees_celcius | 0.01 | 0
6bfa | status_7_temperatureHysteresis_on | int16 | unit.degrees_celcius | 0.01 | 0
6c00 | status_6_ACInputCurrent | int16 | unit.ampere | 0.001 | 0
6c26 | status_6_temperatureCondensor_refrigrerant_gas | int16 | unit.degrees_celcius | 0.01 | 2395
6c27 | status_6_DigInOpenthermIDU | uint8 | 0
6c33 | status_6_exhaustOverheat | int16 | unit.degrees_celcius | 0.01 | -515
6c35 | status_6_DigInIDU | uint8 | 0
6c53 | status_6_temperatureSubcooling | int16 | unit.degrees_celcius | 0.01 | 0
6c61 | status_6_fanspeedSetpoint | int16 | unit.rounds_per_minute | 0
6c66 | status_6_EEVSteps | int16 | unit.steps | 500
6c8a | status_6_actualFan1Speed | int16 | unit.rounds_per_minute | 0
6c8b | status_6_AuxOutIDU | uint8 | 0
6c8f | status_6_ACInputVoltage | int16 | unit.voltage | 0.1 | 2200
6caf | status_6_ZTV_input | uint16 | 0
6cd1 | status_6_IPM_PIMactualTemp | int16 | unit.degrees_celcius | 0.01 | 3380
6ce8 | status_6_digitalOutIDU | uint8 | 0
6ceb | status_6_temperatureCondensor_refrigrerant_liquid | int16 | unit.degrees_celcius | 0.01 | 2404
6cf1 | status_6_actualFan2Speed | int16 | unit.rounds_per_minute | 0
6cfb | status_6_suctionOverheat | int16 | unit.degrees_celcius | 0.01 | 0
6cfc | status_6_busVoltage | int16 | unit.voltage | 0.1 | 0
701b | status_2_pump_speed | uint16 | unit.rounds_per_minute | 0
701e | status_2_fan_set | uint16 | unit.rounds_per_minute | 0
702b | status_2_fan_torque | uint16 | 0
7073 | status_2_temp_he1 | int16 | unit.degrees_celcius | 0.01 | 32767
707a | status_2_temp_he2 | int16 | unit.degrees_celcius | 0.01 | 32767
707e | status_2_pump_set | uint16 | unit.rounds_per_minute | 0
709a | status_2_pump_bridge_temperature | int16 | unit.degrees_celcius | 0.01 | 0
70a3 | status_2_stepper_pos | uint16 | 0
70ce | status_2_bus_voltage | int16 | unit.voltage | 0.01 | 0
70cf | status_2_stepper_pos_set | uint16 | 0
70db | status_2_fan_bridge_temperature | int16 | unit.degrees_celcius | 0.01 | 32767
70ec | status_2_pump_flow | uint16 | unit.liters_per_hour | 0
70ee | status_2_fan_speed | uint16 | unit.rounds_per_minute | 0
7105 | statistics_0_water_meter_MSB | uint8 | 0
712c | statistics_0_ignition_not_successful | uint16 | 0
7153 | statistics_0_water_meter | uint16 | unit.cubic_meter | 0.0001 | 0
715c | statistics_0_ignition_successful_MSB | uint8 | 0
715e | statistics_0_poweron_hours_MSB | uint8 | unit.hours | 0
7160 | statistics_0_poweron_number | uint16 | 5
7162 | statistics_0_reset_number | uint16 | 0
7169 | statistics_0_ignition_successful_dhw_MSB | uint8 | 0
7191 | statistics_0_gas_meter_ch | uint32 | unit.cubic_meter | 0.0001 | 0
7195 | statistics_0_flame_loss | uint16 | 0
71a7 | statistics_0_poweron_hours | uint16 | unit.hours | 413
71aa | statistics_0_gas_meter_dhw | uint32 | unit.cubic_meter | 0.0001 | 0
71b7 | statistics_0_ch_hours | uint16 | unit.hours | 0
71c0 | statistics_0_ignition_successful_dhw | uint16 | 0
71da | statistics_0_dhw_hours | uint16 | unit.hours | 0
71fa | statistics_0_ignition_successful | uint16 | 0
761c | statistics_1_maintenance_days | uint16 | unit.days | 0
761e | statistics_1_maintenance_reset_counter | uint8 | 0
766d | statistics_1_clv_protection_cntr | uint16 | 0
76db | statistics_1_maintenance_gas_usage | uint16 | unit.cubic_meter | 0
7704 | status_3_PendingTask_1 | uint8 | 255
770a | status_3_PendingTask_3 | uint8 | 255
770d | status_3_PendingTask_2 | uint8 | 255
7711 | status_3_HeatpumpDegreeMinutesControlState | uint8 | 0
7712 | status_3_DegreeMinutesIntegrator | int32 | 0
7716 | status_3_BuhAllowedFlags | uint8 | 0
7718 | status_3_PendingTask_5 | uint8 | 255
771b | status_3_FilteredReturnTemperature30min | int16 | unit.degrees_celcius | 0.01 | 0
771f | status_3_PendingTask_4 | uint8 | 255
772c | status_3_ProtectState | uint8 | 2
773a | status_3_DegreeMinutesCompressorState | uint8 | 0
7747 | status_3_ClockProgramActiveFlags | uint8 | 1
7766 | status_3_RequestedBuhLevel | uint8 | 0
7767 | status_3_RequestedTemperature | int16 | unit.degrees_celcius | 0.01 | 2000
7769 | status_3_HeatpumpHysteresisControlState | uint8 | 0
777d | status_3_RequestedHeatpumpMode | uint8 | 254
77c3 | status_3_Flags | uint8 | 0
77ce | status_3_BuhActiveFlags | uint8 | 0
77d2 | status_3_SystemIo | uint16 | 17092
77dd | status_3_SystemStatus | uint8 | 14
7911 | status_1_OT_therm_prod_version | uint8 | 12
7921 | status_1_roomtemperature_set_1 | int16 | unit.degrees_celcius | 0.01 | 1800
7928 | status_1_roomtemperature_set_2 | int16 | unit.degrees_celcius | 0.01 | 0
7940 | status_1_notification_code | uint8 | 255
794b | status_1_flowsensor_flow | int16 | unit.liters_per_minute | 0.01 | 0
7971 | status_1_override_dhw_comfort | uint8 | 0
7986 | status_1_override_roomtemperature_2 | int16 | unit.degrees_celcius | 0.01 | 32767
798f | status_1_override_roomtemperature_1 | int16 | unit.degrees_celcius | 0.01 | 1800
79b3 | status_1_roomtemperature_1 | int16 | unit.degrees_celcius | 0.01 | 2392
79ba | status_1_roomtemperature_2 | int16 | unit.degrees_celcius | 0.01 | 32767
79c1 | status_1_hardware_type | uint8 | 2
79e0 | status_1_OT_therm_prod_type | uint8 | 1
79e1 | status_1_OT2_therm_prod_type | uint8 | 0
79eb | status_1_rf_rth_master_version | uint8 | 0
79ec | status_1_rf_rth_master_type | uint8 | 0
79f4 | status_1_gasvalve_current | int8 | unit.ampere | 0.01 | 0
79f8 | status_1_temp_outside_actual | int16 | unit.degrees_celcius | 0.01 | 1750
79f9 | status_1_OT_master_member_id | uint8 | 173
79fe | status_1_OT2_master_member_id | uint8 | 0
7e06 | status_0_temp_flow | int16 | unit.degrees_celcius | 0.01 | 32767
7e14 | status_0_rf_thermostat_status | uint8 | 0
7e28 | status_0_temp_hotwater | int16 | unit.degrees_celcius | 0.01 | 32767
7e2c | status_0_lockout_code | uint8 | 255
7e31 | status_0_temp_set | int16 | unit.degrees_celcius | 0.01 | 32767
7e3e | status_0_heatdemand_io | uint8 | 128
7e51 | status_0_heatdemand_status | uint8 | 126
7e52 | status_0_temp_t_ext_1 | int16 | unit.degrees_celcius | 0.01 | 32767
7e5b | status_0_temp_t_ext_2 | int16 | unit.degrees_celcius | 0.01 | 32767
7e67 | status_0_internal_fault | uint8 | 0
7e76 | status_0_burner_io | uint8 | 40
7e7a | status_0_burner_status | uint8 | 64
7e81 | status_0_temp_return | int16 | unit.degrees_celcius | 0.01 | 32767
7e82 | status_0_flame_current | int16 | unit.micro_ampere | 0.01 | 0
7e9f | status_0_temp_misscher | int16 | unit.degrees_celcius | 0.01 | 32767
7ead | status_0_temp_flue | int16 | unit.degrees_celcius | 0.01 | 32767
7eb2 | status_0_temp_coldwater | int16 | unit.degrees_celcius | 0.01 | 32767
7ed3 | status_0_water_pressure | int16 | unit.bars | 0.01 | 166
7ee6 | status_0_temp_supply | int16 | unit.degrees_celcius | 0.01 | 2738
8415 | boiler_status_1_to_boiler_ot_room_temperature_set | int16 | unit.percent | 0.01 | 1800
8418 | boiler_status_1_from_ot_slave_config | uint8 | 65
841b | boiler_status_1_to_boiler_ot_master_config | uint8 | 173
841f | boiler_status_1_to_boiler_ot_room_temperature_act | int16 | unit.degrees_celcius | 0.01 | 2392
8434 | boiler_status_1_to_boiler_ot_control_setpoint | int16 | unit.degrees_celcius | 0.01 | 1000
8439 | boiler_status_1_from_boiler_ot_oem_faultcode | uint8 | 0
843a | boiler_status_1_from_boiler_ot_status | uint8 | 0
8445 | boiler_status_1_from_boiler_ot_override_function | uint8 | 3
844c | boiler_status_1_from_boiler_ot_ch_pressure | int16 | unit.bars | 0.01 | 166
8457 | boiler_status_1_to_boiler_ot_status | uint8 | 2
8476 | boiler_status_1_to_boiler_ot_ext_boiler_set | int16 | unit.degrees_celcius | 0.01 | 32767
8488 | boiler_status_1_from_boiler_ot_override_temperature | int16 | unit.degrees_celcius | 0.01 | 0
848e | boiler_status_1_to_boiler_ot_modulation_level_set | int16 | unit.percent | 0.01 | 0
84d1 | boiler_status_1_from_boiler_ot_modulation_level | int16 | unit.percent | 0.01 | 0
84ec | boiler_status_1_to_boiler_ot_dhw_setpoint_set | int16 | unit.degrees_celcius | 0.01 | 32767
84f7 | boiler_status_1_from_boiler_ot_remote_parameter | uint16 | 769
8e00 | boiler_status_2_from_boiler_ot_burner_starts | uint16 | 34102
8e16 | boiler_status_2_from_boiler_ot_return_water_temp_s16 | int16 | unit.degrees_celcius | 0.01 | 32767
8e18 | boiler_status_2_from_boiler_ot_flame_loss | uint16 | 0
8e1e | boiler_status_2_from_boiler_ot_slave_version | uint16 | 257
8e34 | boiler_status_2_from_boiler_ot_dhw_bounds_u16 | uint16 | 16680
8e37 | boiler_status_2_from_boiler_ot_dhw_hours | uint16 | unit.hours | 143
8e38 | boiler_status_2_from_boiler_ot_boiler_temp_s16 | int16 | unit.degrees_celcius | 0.01 | 2738
8e39 | boiler_status_2_from_boiler_ot_ch_bounds_u16 | uint16 | 0
8e7f | boiler_status_2_from_boiler_ot_dhw_flowrate | int16 | unit.liters_per_minute | 0.01 | 0
8e80 | boiler_status_2_from_boiler_ot_outside_temperature | int16 | unit.degrees_celcius | 0.01 | 32767
8e8f | boiler_status_2_from_boiler_ot_ch_water_setpoint | int16 | unit.degrees_celcius | 0.01 | 5500
8e9d | boiler_status_2_from_boiler_ot_spark_not_succesfull | uint16 | 0
8ecb | boiler_status_2_from_boiler_ot_dhw_setpoint | int16 | unit.degrees_celcius | 0.01 | 6000
8ecc | boiler_status_2_from_boiler_ot_slave_opentherm_version | uint16 | 1049
8edb | boiler_status_2_from_boiler_ot_dhw_temperature | int16 | unit.degrees_celcius | 0.01 | 4745
8ef9 | boiler_status_2_from_boiler_ot_ch_hours | uint16 | unit.hours | 4921
b202 | boiler_control_boiler_lowLoadState | uint8 | 0
b206 | boiler_control_pidcontrol_output | int16 | unit.degrees_celcius | 0.01 | 0
b215 | boiler_control_pidcontrol_part_i | int16 | unit.degrees_celcius | 0.01 | 0
b232 | boiler_control_boiler_request_powerlevel | int16 | unit.percent | 0.01 | 0
b241 | boiler_control_boiler_temp_exceeded_flags | uint8 | 0
b24d | boiler_control_pidcontrol_actual | int16 | unit.degrees_celcius | 0.01 | 0
b25a | boiler_control_pidcontrol_part_p | int16 | unit.degrees_celcius | 0.01 | 0
b28c | boiler_control_boiler_control_flags | uint8 | 0
b2af | boiler_control_boiler_request_on | uint8 | 0
b2bc | boiler_control_boiler_flame_state | uint8 | 0
b2c6 | boiler_control_boiler_lowLoadDutyCycle_u8 | uint8 | 0
b2d5 | boiler_control_boiler_power_limit | int16 | unit.percent | 0.01 | 10000
b2ee | boiler_control_pidcontrol_setpoint | int16 | unit.degrees_celcius | 0.01 | 32767
b2fe | boiler_control_boiler_request_temperature | int16 | unit.degrees_celcius | 0.01 | 32767
f908 | bivalent_service_sfTreturn30sec | int16 | unit.degrees_celcius | 0.01 | 2334
f909 | bivalent_service_sfTsystemsupply30sec | int16 | unit.degrees_celcius | 0.01 | 0
f91f | bivalent_service_maHpElectricalPower | int16 | unit.kilowatt | 0.001 | 0
f926 | bivalent_service_maHpThermalPower | int16 | unit.kilowatt | 0.001 | 0
f934 | bivalent_service_AverageCOP | uint8 | 250
f938 | bivalent_service_BivalentDeviceState | uint8 | 0
f94e | bivalent_service_flags2 | uint16 | 1536
f950 | bivalent_service_tLongTermCalibration_SysSupply_s16 | int16 | unit.degrees_celcius | 0.01 | 0
f969 | bivalent_service_BivalentState | uint8 | 0
f98e | bivalent_service_bForcedCalibration | uint16 | 3
f99a | bivalent_service_DegreeMinutes | int16 | 0
f9b1 | bivalent_service_relativePowerLevel | uint16 | 0
f9b4 | bivalent_service_BivalentSensorCalState | uint8 | 0
f9bc | bivalent_service_tmrBoilerDelay_threshold | uint8 | 0
f9c7 | bivalent_service_tLongTermCalibration_HpSupply_s16 | int16 | unit.degrees_celcius | 0.01 | 0
f9c9 | bivalent_service_MinCopThreshold_u8 | uint8 | 0
f9f2 | bivalent_service_flags | uint16 | 8

## XTEND screens
codes requested by Xtend screen |  | x means retrieved value is not shown on the XTEND screen | #N/A means not available, not found
XTEND HTTP-GET | Example value | Name shown on XTEND screen | description from HA integration | Domoticz plugin device name | comments
2963 | 0 | x | #N/A | #N/A
4133 | 0 | x | status_9_errorCode | #N/A
47e0 | V0.86- | Firmware version | CPUinfo_software_version | Software version
4a22 | 193 | Heat Pump, Domestic hot water pump starts | #N/A | #N/A | not DHW but HP pump starts ?
4a3c | 253 | Heat Pump, Crank heater starts | #N/A | #N/A
4a76 | 0 | x | #N/A | #N/A | base pan heater starts or hours ?
4aeb | 0 | x | #N/A | #N/A | base pan heater starts or hours ?
4e13 | 251 | Heat Pump, Domestic hot water pump hours | #N/A | #N/A | not DHW but HP pump hours ?
4e3a | 0 | x | #N/A | #N/A | base pan heater starts or hours ?
4eeb | 24 | Heat Pump, Crank heater hours | #N/A | #N/A
5008 | 0 | x | status_S_energyThermalCoolingPrevDay | #N/A
5031 | 0 | x | status_S_copDhwPrevDay | #N/A
503e | 3414 | Power, Heat pump | status_S_currentHpPowerThermal | HP energy generated
503f | 0 | x | status_S_energyElectricCoolingPrevDay | #N/A
5041 | 43 | Power, COP | status_S_currentCop | COP
5051 | 0 | x | status_S_copCoolingPrevDay | #N/A
506a | 20 | Energy, Boiler Generated, Previous Day | status_S_energyThermalBoilerPrevDay | #N/A
5077 | 3414 | Power, Total Thermal | status_S_currentPowerThermal | #N/A
5088 | 0 | Power, Boiler | status_S_currentBoilerPowerThermal | Bolier enery generated
5098 | 0 | x | status_S_energyThermalDhwPrevDay | #N/A
5099 | 118 | Energy, Heat Pump Used, Previous Day | status_S_energyElectricHeatingPrevDay | #N/A
50ae | 474 | Energy, Heat Pump Generated, Previous Day | status_S_energyThermalHeatingPrevDay | #N/A
50f2 | 786 | Power, Retrieved | status_S_currentPowerElectric | HP energy usage
50f7 | 40 | Energy, Heat Pump COP, Previous Day | status_S_copHeatingPrevDay | #N/A
50ff | 0 | x | status_S_energyElectricDhwPrevDay | #N/A
6101 | 0 | x | #N/A | #N/A
610b | 0 | x | #N/A | #N/A
6115 | 32767 | x | #N/A | #N/A
6117 | 0 | x | #N/A | #N/A
61ba | 0 | x | #N/A | #N/A
61eb | 6000 | x | #N/A | #N/A
6206 | 32767 | x | status_4_tTempAux2 | #N/A
620f | 32767 | x | status_4_tTempAux1 | #N/A
621d | 4282 | CH water, Supply | status_4_tSystemSupply | #N/A
6280 | 3838 | Heat Pump, CH water, Return | status_4_tHpReturn | HP return temp
629c | 1118 | Heat Pump, CH water, Flow | status_4_fSystem | HP CH flow
62d1 | 1200 | Temperatures, Outside | status_4_tOutdoor | Outside temp
62e7 | 4266 | Heat Pump, CH water, Supply | status_4_tHpSupply | HP supply temp
62ed | 4246 | CH water, Setpoint | status_4_tTempSet | HP setpoint temp
6339 | 0 | x | statistics_6_thermalEnergyDHW | #N/A
6358 | 0 | x | statistics_6_electricEnergyDHW | #N/A
63a7 | 0 | x | statistics_6_electricEnergyCooling | #N/A
63b3 | 108 | Energy, Heat Pump Used, Total | statistics_6_electricEnergyHeating | #N/A
63df | 5 | Energy, Boiler Generated, Total | statistics_6_thermalEnergyBoiler | #N/A
63e4 | 0 | x | statistics_6_thermalEnergyCooling | #N/A
63f0 | 549 | Energy, Heat Pump Generated, Total | statistics_6_thermalEnergyHeating | #N/A
6505 | 1200 | Heat Pump, Refrigeration, Suction line gas temperature | status_5_suctionTemperature | Suction line gas temp
6578 | 1 | Status, Operating Mode | status_5_workingMode | Operating Mode
6579 | 981 | Heat Pump, Refrigeration, Suction gas pressure | status_5_suctionPressure | HP suction pressure
658a | 4064 | x | status_5_frequencySetpoint | #N/A
65a7 | 4000 | Heat Pump, Compressor Frequency | status_5_actualFrequency | Compressor frequency
65b0 | 2644 | Heat Pump, Refrigeration, Discharge gas pressure | status_5_exhaustPressure | HP discharge gas pressure
65c1 | 600 | Heat Pump, Refrigeration, Evaporator Temperature | status_5_coilTemperature | Coil temp
65d0 | 11 | Heat Pump, 4-way Valve Position | status_5_digitalOut | #N/A | bit 3 of 16 indicates 4-way valve (ref HA integration)
65d9 | 8700 | Heat Pump, Refrigeration, Exhaust gas temperature | status_5_exhaustTemperature | Exhaust gas temp
6a28 | 0 | x | statistics_5_startCoolingCounter | #N/A
6a53 | 3 | Heat Pump, Defrost Cycles | statistics_5_startDefrostCounter | HP defrost cycles
6a6c | 0 | x | statistics_5_operationDhwHours | #N/A
6a78 | 0 | x | statistics_5_operationCoolingHours | #N/A
6a8d | 0 | x | statistics_5_startDhwCounter | Boiler DHW starts
6a8e | 122 | Heat Pump, Compressor Starts | statistics_5_startHeatingCounter | HP Compressor starts
6ac5 | 177 | Heat Pump, Runtime | statistics_5_operationHeatingHours | HP runtime
6c26 | 6650 | Heat Pump, Refrigeration, T condensor gas | status_6_temperatureCondensor_refrigrerant_gas | Condensor gas temp
6c33 | 4434 | Heat Pump, Refrigeration, Discharge overheat | status_6_exhaustOverheat | Discharge overheat temp
6c53 | 202 | Heat Pump, Refrigeration, subcooling | status_6_temperatureSubcooling | Subcooling temp
6c61 | 410 | x | status_6_fanspeedSetpoint | #N/A
6c66 | 89 | Heat Pump, Eev position | status_6_EEVSteps | #N/A
6c8a | 404 | Heat pump, Fan Speed | status_6_actualFan1Speed | Fan speed
6ceb | 3847 | Heat Pump, Refrigeration, T condensor liquid | status_6_temperatureCondensor_refrigrerant_liquid | Condensor liquid temp
6cfb | 600 | Heat Pump, Refrigeration, Suction line overheat | status_6_suctionOverheat | Suction line overheat temp
7160 | 6 | Heat Pump, Power Cycles | statistics_0_poweron_number | HP power cycles
71a7 | 3266 | Heat Pump, Hours on Power | statistics_0_poweron_hours | HP poweron
7767 | 4239 | Heat Pump, CH Water, Setpoint | status_3_RequestedTemperature | #N/A
7774 | 255 | x | #N/A | #N/A
77c3 | 131 | Status, Silent Mode | status_3_Flags | #N/A | bit 4 of 8 indicates silent mode (ref HA integration)
77d2 | 18158 | Operating Mode ? | status_3_SystemIo | #N/A
77de | 255 | x | #N/A | #N/A
7921 | 2000 | Temperatures, Target/Setpoint | status_1_roomtemperature_set_1 | Target room temp
7940 | 255 | Heat Pump, Notification Code | status_1_notification_code | #N/A
79b3 | 2001 | Temperatures, Room | status_1_roomtemperature_1 | Room temp
7e2c | 255 | Heat Pump, Lockout Code | status_0_lockout_code | #N/A
7e31 | 32767 | Boiler, CH Water, Setpoint | status_0_temp_set | Boiler CH setpoint temp
7e51 | 102 | Heat Pump, Device Status | status_0_heatdemand_status | Device Status
7e7a | 64 | Heat Demand, Boiler | status_0_burner_status | #N/A
7e81 | 32767 | Boiler, CH Water, Return | status_0_temp_return | Boiler CH return temp
7ed3 | 200 | Heat Pump/Boiler, CH water, Pressure | status_0_water_pressure | CH water pressure
7ee6 | 4100 | Boiler, CH Water, Supply | status_0_temp_supply | Boiler temp
8439 | 0 | Boiler, Lockout Code | boiler_status_1_from_boiler_ot_oem_faultcode | #N/A
84d1 | 32767 | Boiler, Modulation Level | boiler_status_1_from_boiler_ot_modulation_level | Boiler modulation level
8e00 | 15578 | Boiler, Boiler Starts | boiler_status_2_from_boiler_ot_burner_starts | Boiler starts
8e18 | 37 | Boiler, Flame loss | boiler_status_2_from_boiler_ot_flame_loss | Boiler flame loss count
8e37 | 0 | Boiler, Domestic Hot Water runtime | boiler_status_2_from_boiler_ot_dhw_hours | Boiler DHW runtime
8ef9 | 15783 | Boiler, Runtime CH | boiler_status_2_from_boiler_ot_ch_hours | Boiler CH runtime
b28c | 32 | x | boiler_control_boiler_control_flags | #N/A
b2bc | 0 | Boiler, Flame | boiler_control_boiler_flame_state | #N/A
f9f2 | 152 | Boiler, Heat Demand | bivalent_service_flags | Heat demand Boiler

## PLUGIN devices
plugin code | plugin text | used on Xtend screens | comment
47e0 | Software version | Firmware version
5041 | COP | Power, COP
503e | HP energy generated | Power, Heat pump | was 5077 before, should be 503e for HP,5088 for Boiler, 5077 for total
5088 | Bolier enery generated | Power, Boiler
50f2 | HP energy usage | Power, Retrieved
7e81 | Boiler CH return temp | Boiler, CH Water, Return | was 623c, 7e81 used on Xtend screen instead (but 32767 value)
625b | Boiler CH supply temp | #N/A | 7ee6 used on Xtend screen, but already used for Boiler temp in plugin
6280 | HP return temp | Heat Pump, CH water, Return
629c | HP CH flow | Heat Pump, CH water, Flow
62cb | Pump level | #N/A | not queried or used on Xtend screen
62e7 | HP supply temp | Heat Pump, CH water, Supply
62ed | HP setpoint temp | CH water, Setpoint
6505 | Suction line gas temp | Heat Pump, Refrigeration, Suction line gas temperature
62d1 | Outside temp | Temperatures, Outside | was 6573 before, 62d1 used on Xtend screen instead
6578 | Operating Mode | Status, Operating Mode | used for Operational Mode on Xtend screen ?
6579 | HP suction pressure | Heat Pump, Refrigeration, Suction gas pressure
657e | Operation mode | #N/A | not queried or used on Xtend screen
65a7 | Compressor frequency | Heat Pump, Compressor Frequency
65b0 | HP discharge gas pressure | Heat Pump, Refrigeration, Discharge gas pressure
65c1 | Coil temp | Heat Pump, Refrigeration, Evaporator Temperature
65d9 | Exhaust gas temp | Heat Pump, Refrigeration, Exhaust gas temperature
6a53 | HP defrost cycles | Heat Pump, Defrost Cycles
6a8d | Boiler DHW starts | x | queried but not shown on Xtend screen, disabled in my Domoticz
6a8e | HP Compressor starts | Heat Pump, Compressor Starts
6ac5 | HP runtime | Heat Pump, Runtime
6c26 | Condensor gas temp | Heat Pump, Refrigeration, T condensor gas
6c33 | Discharge overheat temp | Heat Pump, Refrigeration, Discharge overheat
6c53 | Subcooling temp | Heat Pump, Refrigeration, subcooling
6c8a | Fan speed | Heat pump, Fan Speed
6ceb | Condensor liquid temp | Heat Pump, Refrigeration, T condensor liquid
6cfb | Suction line overheat temp | Heat Pump, Refrigeration, Suction line overheat
712c | Boiler ignition fail count | #N/A | not queried or used on Xtend screen
7160 | HP power cycles | Heat Pump, Power Cycles
71a7 | HP poweron | Heat Pump, Hours on Power
777d | Heat demand HP | #N/A | not queried or used on Xtend screen, used instead of f9f2 bit 8
77dd | System status | #N/A | not queried or used on Xtend screen
7921 | Target room temp | Temperatures, Target/Setpoint
79b3 | Room temp | Temperatures, Room
7e51 | Device Status | Heat Pump, Device Status | renamed
7ee6 | Boiler temp | Boiler, CH Water, Supply
843a | Boiler status | #N/A | not queried or used on Xtend screen
7ed3 | CH water pressure | Heat Pump/Boiler, CH water, Pressure | was 844c before, 7ed3 used on Xtend screen instead
848e | Boiler modulation target | #N/A | not queried or used on Xtend screen
84d1 | Boiler modulation level | Boiler, Modulation Level
8e00 | Boiler starts | Boiler, Boiler Starts
8e18 | Boiler flame loss count | Boiler, Flame loss
8e37 | Boiler DHW runtime | Boiler, Domestic Hot Water runtime | disabled in Domoticz
8e7f | Boiler DHW flow | #N/A | not queried or used on Xtend screen, disabled in Domoticz
7e31 | Boiler CH setpoint temp | Boiler, CH Water, Setpoint | was 8e8f, 7e31 used on Xtend screen instead, disabled in Domoticz because 32767
8ecb | Boiler DHW max temp | #N/A | not queried or used on Xtend screen, disabled in Domoticz
8edb | Boiler DHW actual temp | #N/A | not queried or used on Xtend screen, disabled in Domoticz
8ef9 | Boiler CH runtime | Boiler, Runtime CH
f9f2 | Heat demand Boiler | Boiler, Heat Demand | to be split further